## Arkusz1
Question | Answer | Points
1. What kind of building energy saving equipment in ventilation systems do you know? Choose the correct answers
| Plate heat exchanger | 1
| Rotating heat exchanger | 1
| Cross flow heat exchanger | 1
2. What is the principle of rotating exhanger work? Choose the correct answer:
| The warm air passes through a wheel and heats rotating wheel load, the wheel rotates and a warm part enters cold air | 1
| The warm air passes through gaps between plates, cold air passes through the next parallel gaps, in this way heat from extracted air is transferred to the supply air | 0
3. What is the principle of plate exhanger work? Choose the correct answer:
| The warm air passes through a wheel and heats rotating wheel load, the wheel rotates and a warm part enters cold air | 0
| The warm air passes through gaps between plates, cold air passes through the next parallel gaps, in this way heat from extracted air is transferred to the supply air. | 1