## Arkusz1
Question | Answer | Points
1.What are the regulation of heat flow principles for heating system? Choose the correct answers
| Quantitative | 1
| Qualitative | 1
2. What kind of building energy saving equipment in heating systems do you know? Choose the correct answer:
| Regulation control valves and system pressure regulators | 1
| Regulation valve for hot water supply systems | 0
3. What could be the projecting temperature for supply hot water into heating system in Lithuania? Choose the correct answer
| up to 80°C | 1
| up to 45°C | 0
| up to 35°C | 0
Import questions from Excel file