## Info page
PROJECT TITLE
OBJECT
NAME AND SURNAME
DATE
This tool was prepared by Project "Virtual and Intensive Course Developing Practical Skills of Future Engineers" (VIPSKILLS) Nr.2016-1-PL01-KA203-026152.
| AUTHORS | Anna Werner-Juszczuk, Bialystok University of Technology (BUT)
This project has been funded with support from the European Commission. This publication [communication] reflects the views only of the author, and the Commission cannot be held responsible for any use which may be made of the information contained therein.
EN
Ten projekt został zrealizowany przy wsparciu finansowym Komisji Europejskiej. Projekt lub publikacja odzwierciedlają jedynie stanowisko ich autora i Komisja Europejska nie ponosi odpowiedzialności za umieszczoną w nich zawartość merytoryczną.
PL
El presente proyecto ha sido financiado con el apoyo de la Comisión Europea. Esta publicación (comunicación) es responsabilidad exclusiva de su autor. La Comisión no es responsable del uso que pueda hacerse de la información aquí difundida
ES
Šis projektas finansuojamas remiant Europos Komisijai. Šis leidinys [pranešimas] atspindi tik autoriaus požiūrį, todėl Komisija negali būti laikoma atsakinga už bet kokį jame pateikiamos informacijos naudojimą.
LT
Created in 2018

## photovoltaics PART 1
PARAMETERS OF PHOTOVOLTAIC PANELS - PART 1
1. PHOTOVOLTAIC PANEL PARAMETERS
| Type | A-66P
Electrical parameters (0,8 kW/m2, ambient temperature 20°C, wind velocity 1 m/s)
| Power (W in test ± 8%) |  |  |  | 66 | W
| Number of cells in series |  |  |  | 36
| Current at maximum power point (Imp) |  |  |  | 3.7 | A
| Voltage at maximum power point (Vmp) |  |  |  | 17.8 | V
| Open circuit voltage (Voc) |  |  |  | 22.25 | V
| Short circuit current (Isc) |  |  |  | 4.05 | A
| Temperature coefficient of Isc (α) |  |  |  | 1.15 | mA/˚C
| Temperature coefficient of Voc (β) |  |  |  | -76.32 | mV/˚C
| System maximum voltage |  |  |  | 700 | V
Physical parameters
| Dimensions (height × width × thickness) |  |  |  | 778×659×35 | mm
| Area |  |  |  | 0.51 | m2
| Weight |  |  |  | 6.2 | kg
Source: Edibon materials
2. RELATION BETWEEN SOLAR IRRADIANCE AND POWER GENERATED BY PHOTOVOLTAIC PANELS
| Ressistance of reciving device |  |  | R = | 50% | Formula
| SUN-2 | PANEL-1
|  | I | V | E | P
|  | [A] | [V] | [W/m2] | [W]
0
0
0
0
0
0
3. CONCLUSIONS
3.1.Describe the relation between generated power and solar irradiance
3.2. Describe the relation between generated voltage, current and solar irradiance
max
min

## photovoltaics PART 2
PARAMETERS OF PHOTOVOLTAIC PANELS - PART 2
1. PHOTOVOLTAIC PANEL PARAMETERS
| Type | A-66P
Electrical parameters (0,8 kW/m2, ambient temperature 20°C, wind velocity 1 m/s)
| Power (W in test ± 8%) |  |  |  | 66 | W
| Number of cells in series |  |  |  | 36
| Current at maximum power point (Imp) |  |  |  | 3.7 | A
| Voltage at maximum power point (Vmp) |  |  |  | 17.8 | V
| Open circuit voltage (Voc) |  |  |  | 22.25 | V
| Short circuit current (Isc) |  |  |  | 4.05 | A
| Temperature coefficient of Isc (α) |  |  |  | 1.15 | mA/˚C
| Temperature coefficient of Voc (β) |  |  |  | -76.32 | mV/˚C
| System maximum voltage |  |  |  | 700 | V
Physical parameters
| Dimensions (height × width × thickness) |  |  |  | 778×659×35 | mm
| Area |  |  |  | 0.51 | m2
| Weight |  |  |  | 6.2 | kg
Source: Edibon materials
2. DETERMINATION OF I-V AND P-V CURVES, FILL FACTOR FF, POWER AND EFFICIENCY
| R | PANEL-1 (SUN-1 + SUN-2) |  |  |  |  | Formula
|  | I | V | E | P | η
| [%] | [A] | [V] | [W/m2] | [W] | [%]
| Voc [V] |  |  |  | 0 | #DIV/0!
| max |  |  |  | 0 | #DIV/0!
| 90 |  |  |  | 0 | #DIV/0!
| 80 |  |  |  | 0 | #DIV/0!
| 70 |  |  |  | 0 | #DIV/0!
| 60 |  |  |  | 0 | #DIV/0!
| 50 |  |  |  | 0 | #DIV/0!
| 40 |  |  |  | 0 | #DIV/0!
| 30 |  |  |  | 0 | #DIV/0!
| 20 |  |  |  | 0 | #DIV/0!
| 10 |  |  |  | 0 | #DIV/0!
| 0 |  |  |  | 0 | #DIV/0!
| Isc [A] | 0 | 0 | 0 | 0 | #DIV/0!
Tpanel [°C]
| Tambient [°C] | [6 empty] | Fig. I-V curves for panel used during the exercise
Source: Edibon materials
3. TASKS
3.1. Choose the maximum power generated during the exercise
3.2. Calculate the maximum nominal power generated by panels for Imp and Vmp values (formula 2)
3.3. Choose the maximum efficiency of photovoltaic panels received during the exercise
3.4. Calculate the maximum nominal efficiency of photovoltaic panels (formula 4) - E = 800 W/m2
3.5. Calculate fill factor FF for maximum power received during the exercise - use values Isc and Voc determined during the exercise (formula 5)
3.6. Calculate fill factor FF for maximum nominal power (formula 6)
4. CONCLUSIONS
4.1. Compare experimental I - V curve for Panel 1 with curve I-V , given by panels producer (especially shape, Isc and Voc values)
4.2. Explain the source of differences between those I-V curves
4.3. Compare the panel efficiency with the nominal value
4.4. Compare the fill factor with nominal value
4.5. Explain all differences

## photovoltaics PART 3
PARAMETERS OF PHOTOVOLTAIC PANELS - PART 3
1. PHOTOVOLTAIC PANEL PARAMETERS
| Type | A-66P
Electrical parameters (0,8 kW/m2, ambient temperature 20°C, wind velocity 1 m/s)
| Power (W in test ± 8%) |  |  |  | 66 | W
| Number of cells in series |  |  |  | 36
| Current at maximum power point (Imp) |  |  |  | 3.7 | A
| Voltage at maximum power point (Vmp) |  |  |  | 17.8 | V
| Open circuit voltage (Voc) |  |  |  | 22.25 | V
| Short circuit current (Isc) |  |  |  | 4.05 | A
| Temperature coefficient of Isc (α) |  |  |  | 1.15 | mA/˚C
| Temperature coefficient of Voc (β) |  |  |  | -76.32 | mV/˚C
| System maximum voltage |  |  |  | 700 | V
Physical parameters
| Dimensions (height × width × thickness) |  |  |  | 778×659×35 | mm
| Area |  |  |  | 0.51 | m2
| Weight |  |  |  | 6.2 | kg
Source: Edibon materials
2. PANELS CONNECTED IN SERIES/PARALLEL
| R | PANEL 1 (SUN-1 + SUN-2) |  |  |  | SERIES (SUN-1 + SUN-2) |  |  |  | PARALLEL (SUN-1 + SUN-2)
|  | I | V | E | P | I | V | E | P | I | V | E | P
| [%] | [A] | [V] | [W/m2] | [W] | [A] | [V] | [W/m2] | [W] | [A] | [V] | [W/m2] | [W]
| Voc [V] | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| max | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 90 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 80 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 70 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 60 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 50 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 40 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 30 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 20 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 10 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| 0 | PANEL 1 (SUN-1 + SUN-2) P: 0; SERIES (SUN-1 + SUN-2) P: 0; PARALLEL (SUN-1 + SUN-2) P: 0
| Isc [A] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T [°C]
3. CONCLUSIONS
3.1. Describe differences between I-V curve for single panel and for panels connected in series/parallel (Isc and Voc values, maximum generated power)
3.2. Describe what happens with generated current and voltage when panels are connected in series and in parallel

## Constant (hidden)
|  |  |  | cp | r
|  |  |  | kJ/(kg·K) | kg/m3
999.55
T | cp |  |  |  | 999.67
K | kJ/(kg·K) |  |  |  | 999.76
273.15 | 4.212 | 273.15 | 0 | 4.212 | 999.84
283.15 | 4.191 | 274.15 | 1 | 4.2099 | 999.9
293.15 | 4.183 | 275.15 | 2 | 4.2078 | 999.94
303.15 | 4.174 | 276.15 | 3 | 4.2057 | 999.96
313.15 | 4.174 | 277.15 | 4 | 4.2036 | 999.97
323.15 | 4.174 | 278.15 | 5 | 4.2015 | 999.96
333.15 | 4.179 | 279.15 | 6 | 4.1994 | 999.94
343.15 | 4.187 | 280.15 | 7 | 4.1973 | 999.9
353.15 | 4.195 | 281.15 | 8 | 4.1952 | 999.85
363.15 | 4.208 | 282.15 | 9 | 4.1931 | 999.78
373.15 | 4.22 | 283.15 | 10 | 4.191 | 999.7
383.15 | 4.2533 | 284.15 | 11 | 4.1902 | 999.6
393.15 | 4.25 | 285.15 | 12 | 4.1894 | 999.5
403.15 | 4.267 | 286.15 | 13 | 4.1886 | 999.37
413.15 | 4.287 | 287.15 | 14 | 4.1878 | 999.24
423.15 | 4.313 | 288.15 | 15 | 4.187 | 999.1
433.15 | 4.346 | 289.15 | 16 | 4.1862 | 998.94
443.15 | 4.38 | 290.15 | 17 | 4.1854 | 998.77
453.15 | 4.417 | 291.15 | 18 | 4.1846 | 998.59
463.15 | 4.459 | 292.15 | 19 | 4.1838 | 998.4
473.15 | 4.505 | 293.15 | 20 | 4.183 | 998.2
483.15 | 4.555 | 294.15 | 21 | 4.1821 | 997.99
493.15 | 4.614 | 295.15 | 22 | 4.1812 | 997.77
503.15 | 4.681 | 296.15 | 23 | 4.1803 | 997.53
513.15 | 4.756 | 297.15 | 24 | 4.1794 | 997.29
523.15 | 4.844 | 298.15 | 25 | 4.1785 | 997.04
533.15 | 4.949 | 299.15 | 26 | 4.1776 | 996.78
543.15 | 5.07 | 300.15 | 27 | 4.1767 | 996.51
553.15 | 5.23 | 301.15 | 28 | 4.1758 | 996.23
563.15 | 5.485 | 302.15 | 29 | 4.1749 | 995.94
573.15 | 5.736 | 303.15 | 30 | 4.174 | 995.64
583.15 | 6.071 | 304.15 | 31 | 4.174 | 995.34
593.15 | 6.574 | 305.15 | 32 | 4.174 | 995.02
603.15 | 7.244 | 306.15 | 33 | 4.174 | 994.7
613.15 | 8.165 | 307.15 | 34 | 4.174 | 994.37
623.15 | 9.504 | 308.15 | 35 | 4.174 | 994.03
633.15 | 13.98 | 309.15 | 36 | 4.174 | 993.68
643.15 | 40.32 | 310.15 | 37 | 4.174 | 993.33
|  | 311.15 | 38 | 4.174 | 992.96
|  | 312.15 | 39 | 4.174 | 992.59
|  | 313.15 | 40 | 4.174 | 992.21
|  | 314.15 | 41 | 4.174 | 991.83
|  | 315.15 | 42 | 4.174 | 991.44
|  | 316.15 | 43 | 4.174 | 991.04
|  | 317.15 | 44 | 4.174 | 990.63
|  | 318.15 | 45 | 4.174 | 990.22
|  | 319.15 | 46 | 4.174 | 989.79
|  | 320.15 | 47 | 4.174 | 989.37
|  | 321.15 | 48 | 4.174 | 988.93
|  | 322.15 | 49 | 4.174 | 988.49
|  | 323.15 | 50 | 4.174 | 988.04
|  | 324.15 | 51 | 4.1745 | 987.59
|  | 325.15 | 52 | 4.175 | 987.12
|  | 326.15 | 53 | 4.1755 | 986.66
|  | 327.15 | 54 | 4.176 | 986.18
|  | 328.15 | 55 | 4.1765 | 985.7
|  | 329.15 | 56 | 4.177 | 985.3
|  | 330.15 | 57 | 4.1775 | 984.8
|  | 331.15 | 58 | 4.178 | 984.3
|  | 332.15 | 59 | 4.1785 | 983.8
|  | 333.15 | 60 | 4.179 | 983.2
|  | 334.15 | 61 | 4.1798 | 982.7
|  | 335.15 | 62 | 4.1806 | 982.2
|  | 336.15 | 63 | 4.1814 | 981.7
|  | 337.15 | 64 | 4.1822 | 981.1
|  | 338.15 | 65 | 4.183 | 980.5
|  | 339.15 | 66 | 4.1838 | 980.1
|  | 340.15 | 67 | 4.1846 | 979.5
|  | 341.15 | 68 | 4.1854 | 978.9
|  | 342.15 | 69 | 4.1862 | 978.4
|  | 343.15 | 70 | 4.187 | 977.8
|  | 344.15 | 71 | 4.1878 | 977.3
|  | 345.15 | 72 | 4.1886 | 976.7
|  | 346.15 | 73 | 4.1894 | 976.1
|  | 347.15 | 74 | 4.1902 | 975.5
|  | 348.15 | 75 | 4.191 | 974.9
|  | 349.15 | 76 | 4.1918 | 974.3
|  | 350.15 | 77 | 4.1926 | 973.7
|  | 351.15 | 78 | 4.1934 | 973.1
|  | 352.15 | 79 | 4.1942 | 972.5
|  | 353.15 | 80 | 4.195 | 971.8
|  | 354.15 | 81 | 4.1963 | 971.2
|  | 355.15 | 82 | 4.1976 | 970.6
|  | 356.15 | 83 | 4.1989 | 970
|  | 357.15 | 84 | 4.2002 | 969.3
|  | 358.15 | 85 | 4.2015 | 968.6
|  | 359.15 | 86 | 4.2028 | 968
|  | 360.15 | 87 | 4.2041 | 967.4
|  | 361.15 | 88 | 4.2054 | 966.7
|  | 362.15 | 89 | 4.2067 | 966
|  | 363.15 | 90 | 4.208 | 965.3
|  | 364.15 | 91 | 4.2092 | 964.7
|  | 365.15 | 92 | 4.2104 | 964
|  | 366.15 | 93 | 4.2116 | 963.3
|  | 367.15 | 94 | 4.2128 | 962.6
|  | 368.15 | 95 | 4.214 | 961.9
|  | 369.15 | 96 | 4.2152 | 961.2
|  | 370.15 | 97 | 4.2164 | 960.5
|  | 371.15 | 98 | 4.2176 | 959.8
|  | 372.15 | 99 | 4.2188 | 959
|  | 373.15 | 100 | 4.22 | 958.3