## info page
PROJECT TITLE
OBJECT
NAME AND SURNAME
DATE
This tool was prepared by Project "Virtual and Intensive Course Developing Practical Skills of Future Engineers" (VIPSKILLS) Nr.2016-1-PL01-KA203-026152.
| AUTHORS | Antonio Rodero Serrano, University of Cordoba (UCO),
Dorota Anna Krawczyk, Bialystok University of Technology (BUT),
This project has been funded with support from the European Commission. This publication [communication] reflects the views only of the author, and the Commission cannot be held responsible for any use which may be made of the information contained therein.
EN
Ten projekt został zrealizowany przy wsparciu finansowym Komisji Europejskiej. Projekt lub publikacja odzwierciedlają jedynie stanowisko ich autora i Komisja Europejska nie ponosi odpowiedzialności za umieszczoną w nich zawartość merytoryczną.
PL
El presente proyecto ha sido financiado con el apoyo de la Comisión Europea. Esta publicación (comunicación) es responsabilidad exclusiva de su autor. La Comisión no es responsable del uso que pueda hacerse de la información aquí difundida
ES
Šis projektas finansuojamas remiant Europos Komisijai. Šis leidinys [pranešimas] atspindi tik autoriaus požiūrį, todėl Komisija negali būti laikoma atsakinga už bet kokį jame pateikiamos informacijos naudojimą.
LT
Created in 2018

## calculation
FULL COLD LOAD CALCULATION
1. INDOOR AND OUTDOOR CONDITIONS
| Indoor Temperature [ºC] |  | 23 |  | Indoor Absolute Hum. [g/Kg] |  | 11
| Indoor Relative Humidity [%] |  |  |  | Outdoor Absolute Hum. [g/Kg] |  | 13
| Oudoor Temperature [ºC] |  | 60 |  | Temperature diferences |  | 37
| Outdoor Relative Humidity [%] |  |  |  | Absolute Hum. diferences |  | 2
2. ROOM CHARACTERISTICS
| Room Area |  |  |  | Room Height
| Occupancey: [Nº Persons] |  |  |  | Ventilation: [Air flow, m3/h] |  | 20
Volume
3. SENSIBLE HEAT
3.1. Solar Radiation
|  | Orientation | Area [m2] | R | f | QSR [W]
| Windows | N |  | 44.2
|  | NE |  | 44.2
|  | E |  | 44.2
|  | SE |  | 44.2
|  | S |  | 138.4
|  | SO |  | 346.5
|  | O |  | 308.1
|  | NO |  | 81.4
|  | H |  | 639.5
Total [W]
3.2. Heat Transfer throught envelope
3.2.1 Heat Transfer throught envelope
|  |  | Area [m2] | U | T Diference | QST [W]
| External wall |  |  |  | 37
| Internal partition |  |  |  | 18.5
| Roof |  |  |  | 37
| Floor |  |  |  | 37
| Windows |  |  |  | 37
| Doors |  |  |  | 37
Total [W]
3.2.2 Ventilation and Infiltration of subrrounding air
|  |  |  | Flow | T Diference | QSV [W]
|  | Heat Gains from ventilation |  | 20 | 37 | 244.2
[5 empty] | Total [W] | 244.2
3.2.3 Indoor Sensible Heat sources
QSI [W]
| Lighting |  |  | Power of Incandescent Lights:
|  |  |  | Power of Fluorencent Lights: |  | 100 | 125
| Electrical devices |  |  | Power of total devices |  | 399 | 299.25
| Occupancy | Nº of Persons |  | Sensible heat/Person
[6 empty] | Total [W] | 424.25
TOTAL GAINS OF SENSIBLE HEAT [W] | [6 empty] | 668.45
4. LATENT HEAT
4.1. Gains of Latent Heat from infriltration
|  |  |  | Flow | AH Diference | QLV [W]
|  | Heat Gains from ventilation |  | 20 | 2 | 29.6
4.2. Latent Heat gains from occupancy
QLO [W]
| Occupancy | Nº of Persons |  | Latent heat/Person
TOTAL GAINS OF LATENT HEAT [W] | [6 empty] | 29.6
COLD LOAD QS + QL [W] | [6 empty] | 29.6
Correction Factor
TOTAL COLD LOAD [W] | [6 empty] | 0