## Arkusz1
Question | Answer | Points
1.Explain the purpose of every single device in boiler protection group.
| Barometer; air valve; protective valve | 0
| Ball valve; manometer, heat exchanger | 1
| Manometer, protective valve, air valve | 0
| Chimeney flue, manometer, protective valve | 0
2. Is it possible for the boiler’s efficiency coefficient being more than 100%?
| No, that’s impossible; | 0
| Yes, it is possible, if condensing smoke economizer would be installed in boiler; | 0
| Yes, it is possible, if the fuel is dry; | 1
| Yes, it is possible, if the boiler is equipped cyclone | 0
3. Due to what reasons in effluent smokes incomplete combustion products occur? *
| Insufficient temperature in the furnace; | 0
| Insufficient amount of air in the furnace; | 1
| Insufficient draft in the furnace; | 0
| Too high chimney. | 0